## Slide 1: Building Science
There’s No Such Thing As A Free Thermodynamic Lunch
Joseph Lstiburek, Ph.D., P.Eng, ASHRAE Fellow
www.buildingscience.com

## Slide 2
Some Physics….

## Slide 3
Arrhenius Equation

## Slide 4
For Every 10 Degree K Rise
Reaction Rate Doubles

## Slide 5
Damage Functions
Water
Heat
Ultra-violet Radiation

## Slide 6
Damage Functions
Water
Heat
Ultra Violet Radiation
Oxidization (Ozone)
Fatigue (Creep)

## Slide 7
The Three Biggest Problems In Buildings Are Water, Water and Water…

## Slide 8
Laws of Thermodynamics

## Slide 9
Zeroth Law – Equal Systems
First Law - Conservation of Energy
Second Law - Entropy
Third Law – Absolute Zero

## Slide 10
2nd Law of Thermodynamics

## Slide 11
In an isolated system, a process can occur only if it increases the total entropy of the system
Rudolf Clausius

## Slide 12
Heat Flow Is From Warm To Cold
Moisture Flow Is From Warm To Cold
Moisture Flow Is From More To Less
Air Flow Is From A Higher Pressure to a Lower Pressure
Gravity Acts Down

## Slide 13
Moisture Flow Is From Warm To Cold
Moisture Flow Is From More To Less

## Slide 14
Moisture Flow Is From Warm To Cold
Moisture Flow Is From More To Less
Thermal Gradient – Thermal Diffusion
Concentration Gradient – Molecular Diffusion

## Slide 15
Moisture Flow Is From Warm To Cold
Moisture Flow Is From More To Less
Thermal Gradient – Thermal Diffusion
Concentration Gradient – Molecular Diffusion
Vapor Diffusion

## Slide 16
Thermodynamic Potential

## Slide 18
Energy Flow

## Slide 24
Materials

## Slide 29
Airtightness

## Slide 30
Typical 5 ach@50
Getting rid of big holes 3 ach@50
Getting rid of smaller holes 1.5 ach@50
Getting Passive 1.0 ach@50

## Slide 33
Ventilation Rates

## Slide 34
Dilution Is Not The Solution To Indoor Pollution
Source Control

## Slide 35
Dilution For People
Source Control For The Building

## Slide 36
Aubin, D., Won, D.Y., Schleibinger, H., 2010

## Slide 38
Pressures

## Slide 39
Kitchen Exhaust Hoods

## Slide 52
Clothes Dryers

## Slide 55
Fireplaces

## Slide 60
Relative Humidty

## Slide 62
Recommended Range of Relative Humidity
Above 40 percent during winter
Below 60 percent during summer

## Slide 66
Net Zero Buildings…..

## Slide 67
Net Zero Buildings…..
75 percent conservation
25 percent renewables

## Slide 69
Conservation
5 – 10 – 20 – 40 – 60 – 1.5
Windows, Slab, Crawl/Basement, Wall, Roof
1.5 ach@50 with ERV

## Slide 70
Renewables – IECC 2 and 3
2,500 ft2 home - 7.5 kw PV

## Slide 71
Conservation – IECC 2 and 3
5 – 10 – 20 – 40 – 60 – 1.5
Windows, Slab, Crawl/Basement, Wall, Roof
1.5 ach@50 with ERV
….Distributed Thermal Mass….

## Slide 75
Light and Tight…..
beat
Mass and Glass….
But….
the time constant now matters

## Slide 76
Conservation – IECC 2 and 3
5 – 10 – 20 – 40 – 60 – 1.5
Windows, Slab, Crawl/Basement, Wall, Roof
1.5 ach@50 with ERV
….Distributed Thermal Mass….
….Plus a Ford F-150 electric….